## Slide 1
Datenfluss engineering
Information Model (IM)
Business Logic
Host
(e.g. PLC)
Device
PET
av. skills*
Host Driver (e.g. PLC)
User
Get available skills*
Implement process sequence
Start configuration
Get required
skill model*
re. skill model*
Match skills*
Send abstract process model
Transform
data
Integrate Data
Start control
Download software
Request data
loop
Data
PET: Process Engineering Tool
Control
Software
Hardware
Create subscriptions
* this includes further device and process data like properties, constraints etc.
Create subscriptions
Standardised Calls
Hardware- / Protocol-specific calls
Treiber zu IM und PET sind nicht dargestellt, um Komplexität zu verringern!

## Slide 2
Device Driver RP
Device VR
Host
(e.g. PLC)
Device
Business Logic
Host Driver (e.g. PLC)
Information Model
CCD
RP: Repository
CCD: Communication
Channel Driver
Search comm.
channels
Get communication channels
Communication channels
Scan devices
Scan network
Load CCDs
for each
Host System
Load Host Driver
Comm. chn.
Scan network
Establish basic communication
Found addresses
Found addresses
Establish basic communication
Get ID
ID
ID
ID
Found addresses
Device ID
Device VR
Get device
information
Load Device VR
device
information
Integrate device information
for each
address
for each
comm.chn.
Datenfluss Geräteerkennung
PDF Drucker
Software
Hardware
Standardized Calls
Hardware- / protocol-specific calls
Configure process data I/O
Conf. process
data I/O
Create subscriptions
Create subscriptions
VR: Virtual
Representation
Ablauf anpassen, damit dieser eher zu einem NGD passt, welches alles Infos gleich bereitstellt (siehe Zettel)  Infos gehen nicht zw. Business Logic und CCD hin und her sondern zw. CCD und Device

## Slide 3
Host
(e.g. PLC)
Device
Business Logic
Host Driver (e.g. PLC)
Information Model (IM)
CCD
Datenfluss Wertänderung im Betrieb
Request data
loop
Data
alt
[values
changed]
Updated values
[values not
changed]
Updated DI
Set new DI
External Systems
Change
notification
DI: Device Information
CCD: Communication Channel Driver
Software
Hardware
Standardised Calls
Hardware- / Protocol-specific calls
Was fehlt ist die Subscription auf das IM!  Wert auf das Gerät zurückschreiben
Datenfluss Geräte Austausch
IM
Akomi Config
SPS
Smart Device
User
?
device missing
Engeneering Tool
device missing
device missing
Disable missing functions
Request replacement
Replacement device
Replace functions
Download software
Call function
Communication error
Wrapper
Ablauf alt, anpassen!